August 04, 2025

Pope

ATTN: Contact Person Quote #: Pope ZF080425C

Subject: Multi-Item Quote}}

Item 1: 1 QTY FS10000-115VAC-S-6" $1920.00 EACH  
• Supply Voltage: 115VAC Electronics mounted in a non-metallic 10” x 8” x 5” NEMA 4X enclosure w/ clear acrylic window.  
• Output: 5 Amp DPDT Relay  
• Process Connection: 3/4" None NPT, 316SS  
• Insulator: UHMWPE, 2.0 2.0" UHMWPE (180 F)  
• Probe: ½" Diameter 316 Stainless Steel x 6.0"  
• Housing: Cast Aluminum, NEMA 7, C, D; NEMA 9, E, F, & G  
  
Item 2: 1 QTY LS7000-115VAC-S-10" $715.00 EACH  
• Supply Voltage: 115VAC  
• Output: 2 Form C contacts 5 Amp DPDT Relay  
• Process Connection: 1" None NPT, 316SS (1500 Max.)  
• Insulator: Teflon, 4.0 4.0" Teflon (450 F)  
• Probe: ½" Diameter 316 Stainless Steel x 10.0"  
• Housing: Cast Aluminum, NEMA 7, D; NEMA 9, E, F, & G

Quote Total: $2635.00

Delivery: In Stock FOB; Houston, TX

Terms: NET 30 W.A.C. Quotation valid for 30 days.

Please contact me directly if you have any questions or require more information.

Thank you,

Zoe Fleming

(713) 467-4438

Zoe@babbittt.us

[www.babbittinternational.com](http://www.babbittinternational.com/)