July 13, 2025

OXY

ATTN: JENNI Quote #: ZF071325B

Subject: LS8000 Level Switch

1 QTY LS8000-115VAC-S-10"-3/4"OD $925.00 EACH

* Snap Track Mounted Remote Electronics
* Supply Voltage: 115VAC
* Output: 5 Amp DPDT Relay
* Selectable Fail-Safe High or Low Level
* Adjustable Time Delay
* Built-in Fuse
* Process Connection: 3/4" NPT, 316SS ( PSI Max.)
* Insulator: UHMWPE, 4" Long (180 F)
* Probe: ½" Diameter 316 Stainless Steel x 10"
* Probe Housing: Cast Aluminum, NEMA 7, C, D; NEMA 9, E, F, & G
* 2-Year Warranty

\*\*\* Optional \*\*\*\*

1 QTY **NEMA 4 Metal Enclosure for Remote Electronics** $ 265.00 EACH

* 8” x 6” x 3.5”

Delivery: FCA, Factory; Houston, TX

Terms: NET 30 W.A.C. or CC Quotation valid for 30 days.

Please contact me directly if you have any questions or require more information.

Thank you,

Zoe Fleming

(713) 467-4438

zoe@babbitt.us

[www.babbittinternational.com](http://www.babbittinternational.com/)