**BABBITT INTERNATIONAL**

Point Level Switch Quote

|  |  |
| --- | --- |
| **Date:** | August 04, 2025 |
| **Customer:** | Beta Manufacturing Corp |
| **Attention:** | Sarah Johnson |
| **Quote Number:** | Q-2024-MASTER-003 |

**ITEM 1: MAIN**

**Part Number:** LS2100-24VDC-H-8

**Quantity:** 1

**Technical Specifications:**

**• Model:** LS2100

**• Supply Voltage:** 24VDC

**• Probe Length:** 8"

**• Probe Material:** Halar

**• Probe Diameter:** ½"

**• Insulator Material:** Teflon

**• Insulator Length:** 4"

**• Maximum Temperature:** 450°F

**• Maximum Pressure:** 300 PSI

**• Process Connection:** NPT ¾"

**• Output Type:** 10 Amp SPDT Relay

**• Options:** Halar Coating

**• Unit Price:** $1350.00

**ITEM 2: MAIN**

**Part Number:** FS10000-115VAC-S-6

**Quantity:** 1

**Technical Specifications:**

**• Model:** FS10000

**• Supply Voltage:** 115VAC

**• Probe Length:** 6"

**• Probe Material:** 316SS

**• Probe Diameter:** ½"

**• Insulator Material:** UHMWPE

**• Insulator Length:** 4"

**• Maximum Temperature:** 450°F

**• Maximum Pressure:** 300 PSI

**• Process Connection:** NPT ¾"

**• Output Type:** 10 Amp SPDT Relay

**• Options:** Flow Switch

**• Unit Price:** $2250.00

**ITEM 3: MAIN**

**Part Number:** LS7000-115VAC-S-20

**Quantity:** 3

**Technical Specifications:**

**• Model:** LS7000

**• Supply Voltage:** 115VAC

**• Probe Length:** 20"

**• Probe Material:** 316SS

**• Probe Diameter:** ½"

**• Insulator Material:** UHMWPE

**• Insulator Length:** 4"

**• Maximum Temperature:** 450°F

**• Maximum Pressure:** 300 PSI

**• Process Connection:** NPT 1"

**• Output Type:** 10 Amp SPDT Relay

**• Options:** Extended Length

**• Unit Price:** $1550.00 **| Total:** $4650.00

**ITEM 4: SPARE**

**Part Number:** SPARE-HOUSING-002

**Quantity:** 2

**• Description:** Replacement Housing Assembly

**• Category:** housing\_assembly

**• Unit Price:** $85.00 **| Total:** $170.00

**QUOTE SUMMARY**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Item** | **Part Number** | **Type** | **Qty** | **Total Price** |
| 1 | LS2100-24VDC-H-8 | MAIN | 1 | $1350.00 |
| 2 | FS10000-115VAC-S-6 | MAIN | 1 | $2250.00 |
| 3 | LS7000-115VAC-S-20 | MAIN | 3 | $4650.00 |
| 4 | SPARE-HOUSING-002 | SPARE | 2 | $170.00 |
|  |  |  | **TOTAL:** | **$8420.00** |

**DELIVERY & TERMS**

**Delivery:** 3 - 4 Weeks

**Terms:** NET 30 W.A.C.

**FOB:** FOB, Houston, TX

**Quote Valid:** 30 days

**Thank you for your business!**

**Contact Information:**

**Sales Representative:** John Nicholosi

**Phone:** (713) 467-4438

**Email:** John@babbitt.us

www.babbittinternational.com