August 04, 2025

Industrial Manufacturing Co.

ATTN: Sarah Johnson Quote #: Q-2024-UNIFIED-MULTI-001

Subject: Multi-Item Quote}}

ITEM 1: LS2000 - LS2000-115VAC-S-12  
1 QTY $ 1,250.00 EACH  
  
Technical Specifications:  
• Supply Voltage: 115VAC  
• Output: 10 Amp SPDT Relay  
• Fail-Safe: Selectable Fail-Safe High or Low Level  
• Process Connection: ¾" 300 PSI NPT, SS (300 PSI Max.)  
• Insulator: UHMWPE, 4" Long (450 F)  
• Probe: ½" Diameter 316SS x 12"  
• Housing: Cast Aluminum, NEMA 7, C, D; NEMA 9, E, F, & G  
• Warranty: 2-Year Warranty  
  
---  
  
ITEM 2: LS7000 - LS7000-230VAC-S-18  
2 QTY $ 1,850.00 EACH  
  
Technical Specifications:  
• Supply Voltage: 230VAC  
• Output: 10 Amp SPDT Relay  
• Fail-Safe: Selectable Fail-Safe High or Low Level  
• Process Connection: 1" 500 PSI NPT, SS (500 PSI Max.)  
• Insulator: Teflon, 6" Long (500 F)  
• Probe: ½" Diameter 316SS x 18"  
• Housing: Cast Aluminum, NEMA 7, C, D; NEMA 9, E, F, & G  
• Temperature Range: Operating Temperature: -40Â°F to 750°F  
• Warranty: 2-Year Warranty

QUOTE SUMMARY  
==================================================  
Item | Part Number | Model | Qty | Unit Price | Total  
--------------------------------------------------  
1 | LS2000-115VAC-S-12 | LS2000 | 1 | $1250.00 | $1250.00  
2 | LS7000-230VAC-S-18 | LS7000 | 2 | $1850.00 | $3700.00  
--------------------------------------------------  
GRAND TOTAL: $4950.00

Delivery: 8-10 weeks FOB; Houston, TX

Terms: NET 30 W.A.C. Quotation valid for 30 days.

Please contact me directly if you have any questions or require more information.

Thank you,

John Nicholosi

(713) 467-4438

John@babbitt.us

[www.babbittinternational.com](http://www.babbittinternational.com/)